Kingspan Benchmark Roof System

Clauses completed to show Roofliner insulated roof deck system.

Roof construction

ROOFLINER

Kingspan Benchmark System

Kingspan Benchmark, a division of Kingspan Limited, manufacture and supply decorative and functional wall finishes and support systems for these.

Consult Kingspan Benchmark technical literature or website for details. As the Benchmark Systems may be designed to suit individual requirements, the following headings should be completed to allow the designer to complete the design and specification and it is recommended that Benchmark are consulted early in the design process.

METAL COMPOSITE PANEL CLADDING/COVERING

To be read with Preliminaries/General conditions.

TYPE OF CLADDING SYSTEM

HMETAL COMPOSITE PANEL ROOF CLADDING TO ROOFS

- Drawing reference(s): _________

- Supports: Kingspan Multibeam Cold Rolled Purlins.

- Bearing width: Min 50mm

-	Finished pitch: minimum 1:80 (0.72°) after deflections to avoid ponding.

-	Panels:

-	Profile reference: Roofliner EcoSafe - Insulated Composite Deck

-	Manufacturer and reference: Kingspan Benchmark, insulated roof composite deck for use under site applied single-ply membranes or fully supported or self supported aluminium, copper, zinc and stainless steel cladding systems with standard internal & external non-corrosive environments also Loss Prevention Certification Board certified to LPS 1181 Grade EXT – B*.

- Test results: LPS1181: 2003: Part 1: Issue 1, ceiling lining tests: Passed all requirements*

-	External facings:

-	Material: S220GD+ZA hot-dip zinc/aluminium Galfan coated metal to BS EN10346: 2009.

-	Thickness: nominal 0.7mm

-	Finish: Varies dependant on weather proofing. XL Forte for mechanically fixed systems. Polyester for fully adhered systems.

- 	Colour: White.

-	Profile: Flat

-	Internal facings:

-	Material: Hot-dip zinc coated metal to BS EN 10147.

-	Thickness: nominal 0.5mm

-	Finish/Colour: Kingspan CleanSafe 15, Colour White

-	Profile: Equi-Bead

-	Core insulation: Zero ODP LPCB certified formulation

-	Panel thickness: 80, 100, 125, 150, 175, 200, 220mm

-	Male/female panel joint sealant:

-	Continuous 6mm diameter bead of non-curing gun grade sealant in female joint on external face prior to panel installation.

-	End Laps:

-	Where an end lap must be used the panels must butt-jointed to each other and sealed with 50mm wide self adhesive film backed butyl mastic tape on the external face, when installing single skin sheets.

-	Nominal 10mm gap between panels to be filled with fire rated gun applied canister urethane insulation.

-	End joint to have EPDM 120 x 2mm self adhesive sealing tape applied to purlin/supporting steelwork prior to panels being laid.

-	Fasteners: As determined by fastener clause

Number and location:

-	For Panel: As determined by attachment clause, but with each panel fixed to each support using not less than three fastenings complete with bearing plate located through the panel and equally spaced across the face of the panel, as recommended by cladding manufacturer. Some spreader plates may require coring out of the external face.

-	Breather Membrane: For single skin sheeting only. As recommended by membrane manufacturer.

-	Thermal Transmittance (U Value): 0.25, 0.20, 0.16, 013, 0.11, 0.10, 0.09 W/m2K. Manufacturers 25 year structural & thermal guarantee required.

-	Air leakage rate of <5m3/hr/m2 at 50 Pa, based on the assumption that the full building envelope is constructed using Benchmark Facades.

-	Other requirements:

- Weathering provided by single ply membrane or single skin sheets installed to manufacturers recommendations.

- Panels to be installed as per Kingspan Benchmark Details.

- Panel to be manufactured under Environmental Management System Certification ISO 14001:2004.

* LPCB certification pending

H31/ATTACHMENT:

-	Determine the number and location of cladding fasteners recommended by the cladding manufacturer to resist wind loads calculated in accordance with BS 6399:Part 2 Standard Method and BS 5427:Part 1.

-	Calculate wind loads on roof and wall cladding appropriate to location, exposure, roof height, building shape and size in accordance with BS 6399:Part 2 Standard Method and BS 5427:Part 1.

-	Basic wind speed (Vb): ___ m/s

-	Altitude factor (Sa): ___

-	Direction factor (Sd): ___

-	Seasonal factor (Ss): 1

-	Probability factor (Sp): 1

-	Terrain and building factor (Sb): ___

-	External and internal size effect factors (Ca): 1

-	External pressure coefficients (Cpe): As determined from BS 6399:Part 2, clauses 2.4 and 2.5.

-	Internal pressure coefficients (Cpi): As determined from BS 6399:Part 2, clause 2.6.

-	Dominant opening: _________

H31/FASTENERS:

-	Recommended manufacturer: SFS Intec Limited, tel. 0113 208 5500

-	Primary fasteners:

Type(s), size(s) and drilling capacity: As recommended by fastener manufacturer to suit type and thickness of supports, and thickness of cladding panels.

- Screw material: Anti-corrosion coated carbon steel.

- Bearing plate material: Galv. steel

-	Heads: Low profile irius®

-	Secondary fasteners: Stitching screws with bonded washers.

-	Screw material: As primary fasteners.

-	Washer size: 19mm dependent upon option.

-	Heads: Low profile irius® headed.

H43/CONTINUITY THERMAL INSULATION

-	Junctions between the roof panel system and walls / penetrations insulated with PIR board insulation any gaps filled with fire rated gun applied canister urethane insulation.

-	Placement: Secure and continuous with cladding/ covering insulation.

H31/PURPOSE MADE COLD FORMED METAL ACCESSORIES – EXTERNAL FOR PANEL:

- Drawing reference(s): _________

- Material/finish: As external face of panel.

    - Thickness: 0.63 mm

    - Colour: To match external face of panel.

    - Workmanship as section Z11.

    - Fixing:

    - Stitch to external face of panels at 450 mm centres using secondary fasteners as specified for the cladding system.

    - End laps formed by overlapping or butt straps, depending upon shape.

- Sealing:

- Single line of 9 x 3mm butyl sealant, Class A+ pink strip, ref: NFRC TB36, site applied between flashing and panel.

    - End laps air sealed with Single line of 9 x 3mm butyl sealant, Class A+ pink strip, ref: NFRC TB36 or non-curing gun grade sealant.

H31/PURPOSE MADE COLD FORMED METAL ACCESSORIES – INTERNAL:

- Drawing reference(s): _________

- Material/finish: As internal face of panel.

    - Thickness: 0.4 mm

    - Colour: White.

    - Workmanship as section Z11.

- Fixing:

- Stitch to internal face of panels at max. 450 mm centres using secondary fasteners as specified for the cladding system.

- Sealing:

- Single line of non-curing gun grade sealant, site applied between flashing and panel.

    - End laps to be air sealed with PVC backed butyl rubber tape or gun grade sealant.

Insulated Panel Identification & labelling

-	When the roofing and /or the wall cladding to this building is completed, a label identifying the composition of the insulated panels is to be fitted.

- This label illustrates the type of Insulated panels fitted, to assist Insurers, Fire Officers, Owners and Occupiers identify the envelope composition.

It is a recommendation of the Total Benchmark Guarantee that the insulated panel identification label, which will have a specific project registration number, is installed in an agreed location. The project architect, cladding subcontractor or owner should locate or instruct the location of these labels in an appropriate and accessible location on the building.

Greenfield Business Park No. 2,

Greenfield, Holywell, Flintshire,

CH8 7GJ North Wales, UK

Tel: +44 (0) 1352 716100

Fax: +44 (0) 1352 710161

Email: info@kingspanbenchmark.com

Website: www.kingspanbenchmark.com

# Text boxes

PRODUCT SPECIFICATION: BENCHMARK ROOF SYSTEM,

ROOFLINER