PRODUCT SPECIFICATION: BENCHMARK ROOF SYSTEM,

ENVIRODEK

Kingspan Benchmark Roof System

Clauses completed to show Envirodek green roof deck system.

Roof construction

ENVIRODEK

Kingspan Benchmark System

Kingspan Benchmark, a division of Kingspan Limited, manufacture and supply decorative and functional wall finishes and support systems for these.

Consult Kingspan Benchmark technical literature or website for details. As the Benchmark Systems may be designed to suit individual requirements, the following headings should be completed to allow the designer to complete the design and specification and it is recommended that Benchmark are consulted early in the design process.

METAL COMPOSITE PANEL CLADDING/COVERING

To be read with Preliminaries/General conditions.

TYPE OF CLADDING SYSTEM

H31/METAL COMPOSITE PANEL ROOF CLADDING

-	Drawing reference(s): _________

-	Supports: Main steel frame

-	Bearing width: Min 65 mm

-	Panels:

-	Profile reference: Envirodek Insulated Green Roof Deck Panel

-	Manufacturer and reference: Kingspan Benchmark, Green or Brown insulated roof deck system for standard internal & external non-corrosive environments, also Loss Prevention Certification Board certified to LPS 1181 Grade EXT-B*.

-	Test results: LPS1181: 2003: Part 1: Issue 1, ceiling lining tests: Passed all requirements*

-	External facings:

-	Material: Hot-dip zinc coated steel to BS EN 10147.

-	Thickness: nominal 0.7mm

-	Finish/Colour: Bright White Polyester.

-	Internal facings:

-	Material: Hot-dip zinc coated steel to BS EN 10147.

-	Thickness: nominal 0.9mm

-	Finish/Colour: Bright White Polyester.

-	Core insulation: Zero ODP LPCB formulation.

-	Panel thickness: 174, 210 & 234mm overall (66, 102, & 126mm core)

-	End laps:

-	Panels butt jointed with 2 runs of profiled fillers between liner of panel and support, sealed top & bottom a single line of non-setting gun-grade sealant.

-	Any gaps between panels, filled with fire rated gun applied canister urethane insulation.

-	Side lap sealant:

-	Option 1 - Single 10mm bead of Geocel Fire Block gun grade sealant or similar, site applied at lap in internal facings.

-	Option 2 - Double line of 9 x 3mm butyl rubber sealant, Class A, ref: NFRC TB36, site applied at lap in internal facings.

-	Fasteners: As determined by fastener clause

Number and location:

-	Primary fasteners: As determined by attachment clause, but with each panel fixed to each support using not less than six fastenings, as recommended by cladding manufacturer.

-	Option 1 - Secondary fasteners: External sheet to be stitched at 500mm centres (maximum) with 200mm long carbon steel screws. This fastener configuration should be used in conjunction with Option 1 side lap seals.

-	Option 2 - Secondary fasteners: External sheet to be stitched at 500mm centres (maximum) with 51mm long carbon steel stitching screws. Internal sheet to be stitched at 250mm centres (maximum) with 25mm carbon steel stitching screws with 19mm diameter sealing washers. Stitchers located in the angled leg of the profile. This fastener configuration should be used in conjunction with Option 2 side lap seals.

-	Thermal Transmittance (U Value) calculated using the method required by the Building Regulations Part L2A (England & Wales) and Building (Scotland) Regulations Section 6: 0.25, 0.18, & 0.15 W/m2K. Manufacturers 25 year thermal guarantee required.

-	Air leakage rate of 10m3/hr/m2 at 50 Pa.

-	Other requirements:

-	Suitable weatherproof membrane for use under a green roof, adhered or mechanically fixed to external facing as per membrane manufacturers recommendations.

-	Insulated upstands to be formed for perimeter, rooflights, penetrations, etc, from galvanised steel zed, angle and/or channel, vapour sealed with PVC backed butyl tape or gun grade sealant to external facing and insulated with PIR board insulation. The minimum recommended height for constructing waterproofing details is 150mm from the top of the finished landscaping.

*Certification pending

H31/ATTACHMENT:

-	Determine the number and location of cladding fasteners recommended by the cladding manufacturer to resist wind loads calculated in accordance with BS 6399:Part 2 Standard Method and BS 5427:Part 1.

-	Calculate wind loads on roof and wall cladding appropriate to location, exposure, roof height, building shape and size in accordance with BS 6399:Part 2 Standard Method and BS 5427:Part 1.

-	Basic wind speed (Vb): ___ m/s

-	Altitude factor (Sa): ___

-	Direction factor (Sd): ___

-	Seasonal factor (Ss): 1

-	Probability factor (Sp): 1

-	Terrain and building factor (Sb): ___

-	External and internal size effect factors (Ca): 1

-	External pressure coefficients (Cpe): As determined from BS 6399:Part 2, clauses 2.4 and 2.5.

-	Internal pressure coefficients (Cpi): As determined from BS 6399:Part 2, clause 2.6.

-	Dominant opening: _________

H31/FASTENERS:

-	Recommended manufacturer: SFS Intec Limited, tel. 0113 208 5500

-	Primary fasteners:

Type(s), size(s) and drilling capacity: As recommended by fastener manufacturer to suit type and thickness of supports, and thickness of cladding panels.

- Screw material: Anti-corrosion coated carbon steel.

- Bearing plate material: Galv. steel

-	Heads: Low profile or hex headed, dependent upon bearing plate

-	Secondary fasteners: Stitching screws with bonded washers.

-	Screw material: As primary fasteners.

-	Washer size: 19mm dependent upon option.

-	Heads: Low profiled irius® head.

H43/CONTINUITY THERMAL INSULATION

-	Junctions between the roof panel system and walls / penetrations insulated with PIR board insulation any gaps filled with fire rated gun applied canister urethane insulation.

-	Placement: Secure and continuous with cladding/ covering insulation.

H31/PROFILE FILLERS GENERALLY:

-	Drawing reference(s): _________

-	Manufacturer and reference: Type to suit cladding profile.

-	Material: Polyethylene foam.

-	Colour: White

-	Fixing: Seal the top, bottom and sides of each profile filler with a single line of non-setting gun-grade sealant.

-	Locate where shown on drawings and wherever necessary to close off corrugation cavities from the inside and outside of the building. Ensure a tight fit and leave no gaps.

H31/PURPOSE MADE COLD FORMED METAL ACCESSORIES – EXTERNAL FOR PANEL:

- Drawing reference(s): _________

- Material/finish: As external face of cladding.

    - Thickness: 0.63 mm

    - Colour: To match external face of cladding.

    - Workmanship as section Z11.

    - Fixing:

    - Stitch to external face of panels at 450 mm centres using secondary fasteners as specified for the cladding system.

    - End laps formed by overlapping or butt straps, depending upon shape.

- Sealing:

- Single line of 9 x 3mm butyl sealant, Class A+ pink strip, ref: NFRC TB36, site applied between flashing and panel.

    - End laps air sealed with Single line of 9 x 3mm butyl sealant, Class A+ pink strip, ref: NFRC TB36 or non-curing gun grade sealant.

H31/PURPOSE MADE COLD FORMED METAL ACCESSORIES – INTERNAL:

- Drawing reference(s): _________

- Material/finish: As internal face of cladding.

    - Thickness: 0.4 mm

    - Colour: White.

    - Workmanship as section Z11.

- Fixing:

- Stitch to internal face of panels at max. 450 mm centres using secondary fasteners as specified for the cladding system.

- Sealing:

- Single line of non-curing gun grade sealant, site applied between flashing and panel.

    - End laps to be air sealed with PVC backed butyl rubber tape or gun grade sealant.

Insulated Panel Identification & labelling

-	When the roofing and /or the wall cladding to this building is completed, a label identifying the composition of the insulated panels is to be fitted.

- This label illustrates the type of Insulated panels fitted, to assist Insurers, Fire Officers, Owners and Occupiers identify the envelope composition.

It is a recommendation of the Total Benchmark Guarantee that the insulated panel identification label, which will have a specific project registration number, is installed in an agreed location. The project architect, cladding subcontractor or owner should locate or instruct the location of these labels in an appropriate and accessible location on the building.

Greenfield Business Park No. 2,

Greenfield, Holywell, Flintshire,

CH8 7GJ North Wales, UK

Tel: +44 (0) 1352 716100

Fax: +44 (0) 1352 710161

Email: info@kingspanbenchmark.com

Website: www.kingspanbenchmark.com